## Slide 1: Detectors calibration and adjustment with android platform. (using RS-BL converter)

## Slide 2: The converter consists of two independent converters inside:
Converter RS-485 in a USB (hereinafter referred to as RS), ensuring the connection of the detector to the Android device over the wire communication line;
Converter RS-485 in Bluetooth (hereinafter referred to as BL),ensuring the connection of the detector to the Android device over the wireless network.

## Slide 3: Converter RS-485 in Bluetooth (BL)
Connecting one end of the cable (included in to the delivery set) to the RS-BL (red cable to the „A“,black to the „B“BL converter connection terminal ) and another end to the sensor.

## Slide 4: Converter RS-485 in a Bluetooth (BL)
Turn ON Forteza RS-BL
(Press power button).
Then the indicator „RS“
glow it's mean that
connection is correct.
While indicator „RS“
lights,bluetooth rarely blinks.(ready to connection)

## Slide 5: Converter RS-485 in a Bluetooth (BL)
Turn on FORTEZA FMC software (which you can download for free from the Google play)
On the first screen you will be see connection type.
Select “Bluetooth”,find and choose your RS-BL (number is written on the product) and click “Connect”.

## Slide 6: Converter RS-485 in a Bluetooth (BL)
About parameters

## Slide 7: Converter RS-485 in a Bluetooth (BL)
About calibration

## Slide 8: Converter RS-485 in a Bluetooth (BL)
About settings

## Slide 9: Converter RS-485 in a Bluetooth (BL)
Setup method: Auto

## Slide 10: Converter RS-485 in a Bluetooth (BL)
In the SETTINGS you will see :

## Slide 11: Converter RS-485 in a Bluetooth (BL)
In the AUTO you can change zone lenght:

## Slide 12: Converter RS-485 in a Bluetooth (BL)
In the AUTO you can change zone lenght:

## Slide 13: Converter RS-485 in a Bluetooth (BL)
Then you choose setup method: Manual

## Slide 14: Converter RS-485 in a Bluetooth (BL)
In the SETTINGS you will see :

## Slide 15: Converter RS-485 in a Bluetooth (BL)
In the manual method, we can choose SENSITIVITY

## Slide 16: Converter RS-485 in a Bluetooth (BL)
In the manual method, we can choose SENSITIVITY

## Slide 17: Converter RS-485 in a Bluetooth (BL)
Then you choose setup method: Special 1 – PL,LL,HL

## Slide 18: Converter RS-485 in a Bluetooth (BL)
In the Special 1 you can change Tresholds:

## Slide 19: Converter RS-485 in a Bluetooth (BL)
In the Special 1 you can change Tresholds:

## Slide 20: Converter RS-485 in a Bluetooth (BL)
Then you choose setup method: Special 2 – HL

## Slide 21: Converter RS-485 in a Bluetooth (BL)
In the Special 2 you can change Treshold :

## Slide 22: Converter RS-485 in a Bluetooth (BL)
In the Special 2 you can change Treshold HL :

## Slide 23: Converter RS-485 in Bluetooth (BL)
External charging device connection socket.
Emergency connection supply for BL.(9-30V)

## Slide 24: Converter RS-485 in a Bluetooth (BL)
Additional set up functions:

## Slide 25: Converter RS-485 in a Bluetooth (BL)
Alarm counter

## Slide 26: Converter RS-485 in a Bluetooth (BL)
Events recorder

## Slide 27: Converter RS-485 in a Bluetooth (BL)
Minimum speed

## Slide 28: Converter RS-485 in a Bluetooth (BL)
Maximum speed